## size_correction
|  |  |  | User inputs | Raw data | [19 empty] | These are the reference values for Stanford A01 tank 06281195 | [5 empty] | corrected to m/z=44 peak area of 20 Vs |  |  | PYTHON INPUTS | [8 empty] | MATLAB/PYTHON OUTPUT |  | SIZE CORRECTED DELTA VALUES |  |  | peak area 20 |  |  | SCALE DECOMPRESSED VALUES | [5 empty] | ISOTOPE RATIOS
Feature | Tracer | Incubation_time_hrs | ID | run_date | Row | Identifier 1 | Is Ref _ | d 15N/14N | d 18O/16O | d 17O/16O | Area 44 | Area 30 | BGD 44 | Rt | FileHeader: Filename | Time Code | rR 45N2O/44N2O sam | rR 46N2O/44N2O sam | rR 31NO/30NO sam | rR 45N2O/44N2O std | rR 46N2O/44N2O std | rR 31NO/30NO std | d17O_raw | N2O (nmols/L) | 31R | 45R | 46R | raw 45rR/45rR | raw 46rR/46rR | raw 31rR/31rR | size corrected 31rR/31rR | size corrected 45rR/45rR | size corrected 46rR/46rR | size corrected 31R | size corrected 45R | size corrected 46R | D17O | gamma | kappa | delta17O | 46R excess | SAMPLE ID | d15Na | d15Nb | SP | d15Nbulk | d17O | d18O | Scrambling coefficients |  | d15Na | d15Nb | SP | d15Nbulk | d17O | d18O | 15Ra | 15Rb | 46R | 15Ra*15Rb | [44N2O] | incubation time (days) | [45N2Oa] | [45N2Ob] | [46N2O]
SCM | NH4+ | 0.26667 | 1325 | 191202 | 3 | Ward_1325 | 0 | 6.617 | 65.913 | 12.901 | 5.172 | 6.076 | 1 | 1554.9 | 191202_V-0002.dxf | 2019/12/02 12:24:20 | 0.77831 | 0.75577 | 0.43536 | 0.77298 | 0.73729 | 0.43044 | 33.6112 | 14.7663 | 0.0037338 | 0.007741 | 0.0021013 | 1.0069 | 1.0251 | 1.0114 | 1.0123 | 1.0073 | 1.0258 | 0.0037796 | 0.0077977 | 0.0021555 | 0 | 0.17457 | 0.079673 | 30.9236 | 1.08e-05 | Ward_1325 | 16.4861 | -2.0878 | 18.5738 | 7.1991 | 31.1624 | 61.2744 | g=0.171 | Ward_1325 | 11.7991 | -1.8229 | 13.6221 | 4.9881 | 29.5281 | 58.0165 | 0.0037184 | 0.0036683 | 0.0021555 | 1.364e-05 | 14.7663 | 0.011111 | 0.054906 | 0.054167 | 0.031829
|  | 0.26667 | 1326 | 191202 | 4 | Ward_1326 | 0 | 4.733 | 60.11 | 10.052 | 4.89 | 5.744 | 0.9 | 1556.6 | 191202_V-0003.dxf | 2019/12/02 13:03:15 | 0.77669 | 0.7517 | 0.43344 | 0.77285 | 0.73733 | 0.43056 | 30.7067 | 13.9624 |  |  |  | 1.005 | 1.0195 | 1.0067 | 1.0075 | 1.0054 | 1.0202 | 0.0037619 | 0.0077828 | 0.0021438 | 0 | 0.17457 | 0.079673 | 30.9236 | 0 | Ward_1326 | 14.4089 | -4.0465 | 18.4553 | 5.1812 | 30.9617 | 60.874 | k=0.0791 | Ward_1326 | 9.8174 | -3.8658 | 13.6832 | 2.9758 | 29.327 | 57.6159 | 0.0037111 | 0.0036608 | 0.0021438 | 1.3585e-05 | 13.9624 | 0.011111 | 0.054799 | 0.054056 | 0.031656
|  | 0.26667 | 1327 | 191202 | 5 | Ward_1327 | 0 | 3.642 | 55.626 | 7.845 | 5.152 | 6.054 | 1 | 1555.6 | 191202_V-0004.dxf | 2019/12/02 13:34:43 | 0.7759 | 0.74851 | 0.43263 | 0.77295 | 0.7373 | 0.43051 | 28.453 | 14.8042 | SIZE CORRECTION SLOPES (updated 5/10/21) |  |  | 1.0038 | 1.0152 | 1.0049 | 1.0058 | 1.0042 | 1.0159 | 0.0037553 | 0.0077738 | 0.0021348 | 0 | 0.17457 | 0.079673 | 30.9236 | 0 | Ward_1327 | 12.5436 | -4.3877 | 16.9312 | 4.0779 | 28.7244 | 56.4168 |  | Ward_1327 | 8.0378 | -4.2217 | 12.2594 | 1.9081 | 27.085 | 53.1564 | 0.0037045 | 0.0036595 | 0.0021348 | 1.3557e-05 | 14.8042 | 0.011111 | 0.054702 | 0.054037 | 0.031523
|  | 11.7167 | 1328 | 191202 | 6 | Ward_1328 | 0 | 18.303 | 53.361 | 6.729 | 5.391 | 6.335 | 1 | 1555.7 | 191202_V-0005.dxf | 2019/12/02 14:06:10 | 0.78657 | 0.74708 | 0.43785 | 0.77293 | 0.73731 | 0.43048 | 27.3131 | 15.4899 | 31R | 45R | 46R | 1.0176 | 1.0133 | 1.0171 | 1.0179 | 1.0181 | 1.014 | 0.0038008 | 0.0078808 | 0.0021306 | 0 | 0.17457 | 0.079673 | 30.9236 | 0 | Ward_1328 | 26.1621 | 11.2096 | 14.9524 | 18.6859 | 27.591 | 54.1624 |  | Ward_1328 | 21.0305 | 12.0457 | 8.9848 | 16.5381 | 25.9493 | 50.9008 | 0.0037523 | 0.0037193 | 0.0021306 | 1.3956e-05 | 15.4899 | 0.48819 | 0.055407 | 0.05492 | 0.031462
|  | 11.7167 | 1329 | 191202 | 7 | Ward_1329 | 0 | 18.29 | 58.25 | 9.137 | 4.907 | 5.761 | 1 | 1554.8 | 191202_V-0006.dxf | 2019/12/02 14:37:37 | 0.78674 | 0.75026 | 0.43785 | 0.77301 | 0.73705 | 0.4296 | 29.774 | 13.9217 | 5.6579e-05 | 2.8107e-05 | 4.8711e-05 | 1.0178 | 1.0179 | 1.0192 | 1.0201 | 1.0182 | 1.0187 | 0.0038087 | 0.0078818 | 0.0021405 | 0 | 0.17457 | 0.079673 | 30.9236 | 0 | Ward_1329 | 28.7055 | 8.6841 | 20.0214 | 18.6948 | 30.0372 | 59.0313 |  | Ward_1329 | 23.4571 | 9.4117 | 14.0455 | 16.4344 | 28.4006 | 55.7722 | 0.0037612 | 0.0037096 | 0.0021405 | 1.3953e-05 | 13.9217 | 0.48819 | 0.055539 | 0.054777 | 0.031607
|  | 11.7167 | 1330 | 191202 | 8 | Ward_1330 | 0 | 29.811 | 80.843 | 20.197 | 3.657 | 4.294 | 1 | 1554.9 | 191202_V-0007.dxf | 2019/12/02 15:09:38 | 0.79564 | 0.76635 | 0.44571 | 0.77303 | 0.73711 | 0.42972 | 41.0691 | 10.3811 |  |  |  | 1.0293 | 1.0397 | 1.0372 | 1.0381 | 1.0297 | 1.0405 | 0.0038761 | 0.007971 | 0.0021863 | 0 | 0.17457 | 0.079673 | 30.9236 | 4.1623e-05 | Ward_1330 | 35.4686 | 26.1024 | 9.3662 | 30.7855 | 30.9845 | 60.9195 |  | Ward_1330 | 29.9094 | 27.5782 | 2.3312 | 28.7438 | 29.3498 | 57.6614 | 0.0037849 | 0.0037763 | 0.0021863 | 1.4293e-05 | 10.3811 | 0.48819 | 0.055889 | 0.055763 | 0.032284
|  | 24.0667 | 1331 | 191202 | 9 | Ward_1331 | 0 | 17.003 | 63.069 | 11.505 | 5.42 | 6.367 | 1 | 1554.4 | 191202_V-0008.dxf | 2019/12/02 15:41:05 | 0.78593 | 0.75369 | 0.43798 | 0.77304 | 0.7371 | 0.42974 | 32.186 | 15.6742 |  |  |  | 1.0167 | 1.0225 | 1.0192 | 1.02 | 1.0171 | 1.0232 | 0.0038084 | 0.0078732 | 0.0021501 | 0 | 0.17457 | 0.079673 | 30.9236 | 5.3842e-06 | Ward_1331 | 26.7582 | 8.1904 | 18.5678 | 17.4743 | 31.0855 | 61.1209 |  | Ward_1331 | 21.5993 | 8.8967 | 12.7025 | 15.248 | 29.451 | 57.8629 | 0.0037544 | 0.0037077 | 0.0021501 | 1.392e-05 | 15.6742 | 1.0028 | 0.055438 | 0.054749 | 0.031749
|  | 24.0667 | 1332 | 191202 | 10 | Ward_1332 | 0 | 13.701 | 56.655 | 8.352 | 4.386 | 5.148 | 1 | 1554.7 | 191202_V-0009.dxf | 2019/12/02 16:12:32 | 0.78342 | 0.74919 | 0.43583 | 0.77309 | 0.73715 | 0.42978 | 28.9771 | 12.6065 |  |  |  | 1.0134 | 1.0163 | 1.0141 | 1.0149 | 1.0138 | 1.0171 | 0.0037896 | 0.0078479 | 0.0021372 | 0 | 0.17457 | 0.079673 | 30.9236 | 0 | Ward_1332 | 22.8148 | 5.4472 | 17.3677 | 14.131 | 29.2564 | 57.476 |  | Ward_1332 | 17.8371 | 6.0357 | 11.8014 | 11.9364 | 27.6182 | 54.2161 | 0.0037406 | 0.0036972 | 0.0021372 | 1.3829e-05 | 12.6065 | 1.0028 | 0.055234 | 0.054594 | 0.031559
|  | 24.0667 | 1333 | 191202 | 11 | Ward_1333 | 0 | 24.039 | 53.87 | 6.979 | 4.825 | 5.665 | 0.9 | 1553.7 | 191202_V-0010.dxf | 2019/12/02 16:53:32 | 0.79093 | 0.7473 | 0.43925 | 0.77308 | 0.73711 | 0.42964 | 27.5742 | 14.0473 |  |  |  | 1.0231 | 1.0138 | 1.0224 | 1.0232 | 1.0235 | 1.0146 | 0.0038205 | 0.0079231 | 0.0021319 | 0 | 0.17457 | 0.079673 | 30.9236 | 0 | Ward_1333 | 32.0901 | 16.7548 | 15.3353 | 24.4225 | 27.8592 | 54.6957 |  | Ward_1333 | 26.6862 | 17.8291 | 8.8571 | 22.2576 | 26.218 | 51.4343 | 0.0037731 | 0.0037405 | 0.0021319 | 1.4113e-05 | 14.0473 | 1.0028 | 0.055714 | 0.055234 | 0.03148
| NO2- | 0.28333 | 1334 | 191202 | 12 | Ward_1334 | 0 | 203.742 | 153.91 | 55.221 | 4.344 | 5.108 | 0.9 | 1553.4 | 191202_V-0011.dxf | 2019/12/02 17:24:59 | 0.92373 | 0.82028 | 0.54686 | 0.77246 | 0.73753 | 0.43116 | 76.8495 | 12.5671 |  |  |  | 1.1958 | 1.1122 | 1.2683 | 1.2692 | 1.1963 | 1.113 | 0.004739 | 0.0092604 | 0.0023387 | 0 | 0.17457 | 0.079673 | 64.4225 | 5.2596e-05 | Ward_1334 | 304.5491 | 104.2722 | 200.2769 | 204.4106 | 64.4005 | 128.5719 |  | Ward_1334 | 286.6261 | 109.1059 | 177.5201 | 197.866 | 62.8349 | 125.3495 | 0.0047284 | 0.004076 | 0.0023387 | 1.9273e-05 | 12.5671 | 0.011806 | 0.06982 | 0.060187 | 0.034533
|  | 0.28333 | 1335 | 191202 | 13 | Ward_1335 | 0 | 186.287 | 144.982 | 51 | 5.416 | 6.367 | 1 | 1553.6 | 191202_V-0012.dxf | 2019/12/02 17:56:27 | 0.91157 | 0.81358 | 0.53505 | 0.77312 | 0.73735 | 0.43038 | 72.5248 | 15.6627 |  |  |  | 1.1791 | 1.1034 | 1.2432 | 1.244 | 1.1795 | 1.1041 | 0.0046449 | 0.0091305 | 0.00232 | 0 | 0.17457 | 0.079673 | 64.4225 | 3.395e-05 | Ward_1335 | 280.7523 | 92.7141 | 188.0382 | 186.7332 | 64.5468 | 128.8725 |  | Ward_1335 | 263.9227 | 97.0513 | 166.8714 | 180.487 | 62.9815 | 125.6503 | 0.0046449 | 0.0040317 | 0.00232 | 1.8727e-05 | 15.6627 | 0.011806 | 0.068588 | 0.059533 | 0.034258
|  | 0.28333 | 1336 | 191202 | 14 | Ward_1336 | 0 | 93.847 | 86.551 | 22.973 | 6.416 | 7.509 | 1.1 | 1554.4 | 191202_V-0013.dxf | 2019/12/02 18:52:26 | 0.8428 | 0.77136 | 0.48344 | 0.77318 | 0.73738 | 0.43038 | 43.893 | 18.6715 |  |  |  | 1.09 | 1.0461 | 1.1233 | 1.124 | 1.0904 | 1.0467 | 0.0041969 | 0.0084411 | 0.0021995 | 0 | 0.17457 | 0.079673 | 64.4225 | 0 | Ward_1336 | 152.2649 | 35.7753 | 116.4897 | 94.0201 | 44.2968 | 87.6283 |  | Ward_1336 | 141.3392 | 37.6666 | 103.6726 | 89.5029 | 42.6896 | 84.3843 | 0.0041944 | 0.0038134 | 0.0021995 | 1.5995e-05 | 18.6715 | 0.011806 | 0.061936 | 0.05631 | 0.032479
|  | 11.7333 | 1337 | 191202 | 15 | Ward_1337 | 0 | 605.834 | 1158.522 | 457.764 | 5.255 | 6.196 | 1 | 1553.3 | 191202_V-0016.dxf | 2019/12/02 20:35:24 | 1.2356 | 1.5334 | 0.90027 | 0.77323 | 0.73737 | 0.43037 | 488.6538 | 15.1977 |  |  |  | 1.5979 | 2.0796 | 2.0919 | 2.0927 | 1.5983 | 2.0803 | 0.0078137 | 0.012373 | 0.0043714 | 0 | 0.17457 | 0.079673 | 64.4225 | 0.0020853 | Ward_1337 | 599.4327 | 656.405 | -56.9724 | 627.9188 | 60.1626 | 119.88 |  | Ward_1337 | 567.9602 | 684.9568 | -116.9966 | 626.4585 | 58.5882 | 116.653 | 0.0057623 | 0.0061922 | 0.0043714 | 3.5681e-05 | 15.1977 | 0.48889 | 0.085087 | 0.091436 | 0.064549
|  | 11.7333 | 1338 | 191202 | 16 | Ward_1338 | 0 | 652.904 | 1375.278 | 531.55 | 4.991 | 5.888 | 1 | 1553.2 | 191202_V-0017.dxf | 2019/12/02 21:07:03 | 1.2722 | 1.6873 | 0.96995 | 0.77273 | 0.73756 | 0.43106 | 564.4056 | 14.5298 |  |  |  | 1.6464 | 2.2877 | 2.2501 | 2.251 | 1.6468 | 2.2884 | 0.0084046 | 0.012748 | 0.0048086 | 0 | 0.17457 | 0.079673 | 64.4225 | 0.0025226 | Ward_1338 | 645.8711 | 712.1181 | -66.2469 | 678.9946 | 59.5761 | 118.6796 |  | Ward_1338 | 612.2649 | 743.0631 | -130.7982 | 677.664 | 58.0005 | 115.452 | 0.0059251 | 0.0064058 | 0.0048086 | 3.7955e-05 | 14.5298 | 0.48889 | 0.087491 | 0.094589 | 0.071006
|  | 11.7333 | 1339 | 191203 | 3 | Ward_1339 | 0 | 652.981 | 914.895 | 370.406 | 5.951 | 7.029 | 0.8 | 1557 | 191203_V-0002.dxf | 2019/12/03 15:51:47 | 1.2665 | 1.3623 | 0.87398 | 0.7732 | 0.73716 | 0.4301 | 399.1918 | 17.2075 |  |  |  | 1.638 | 1.848 | 2.032 | 2.0328 | 1.6384 | 1.8487 | 0.0075901 | 0.012683 | 0.0038847 | 0 | 0.17428 | 0.07968 | 64.4225 | 0.0015986 | Ward_1339 | 684.7077 | 655.4362 | 29.2716 | 670.0719 | 59.6771 | 118.8863 |  | Ward_1339 | 649.317 | 683.9463 | -34.6293 | 666.6316 | 58.1017 | 115.6588 | 0.0060612 | 0.0061885 | 0.0038847 | 3.751e-05 | 17.2075 | 0.48889 | 0.089502 | 0.091381 | 0.057362
|  | 24.0833 | 1340 | 191203 | 4 | Ward_1340 | 0 | 816.995 | 2246.213 | 799.422 | 5.803 | 6.87 | 0.8 | 1557.2 | 191203_V-0003.dxf | 2019/12/03 16:23:58 | 1.4041 | 2.3026 | 1.2135 | 0.77319 | 0.73721 | 0.43019 | 839.845 | 16.7802 |  |  |  | 1.816 | 3.1234 | 2.8208 | 2.8216 | 1.8164 | 3.1241 | 0.010535 | 0.014061 | 0.0065647 | 0 | 0.17428 | 0.07968 | 64.4225 | 0.0042787 | Ward_1340 | 749.6008 | 965.5967 | -215.9959 | 857.5987 | 57.4204 | 114.2731 |  | Ward_1340 | 711.2283 | 1007.4304 | -296.2021 | 859.3294 | 55.8403 | 111.0431 | 0.0062888 | 0.0073773 | 0.0065647 | 4.6394e-05 | 16.7802 | 1.0035 | 0.092862 | 0.10894 | 0.096937
|  | 24.0833 | 1341 | 191203 | 5 | Ward_1341 | 0 | 723.934 | 1452.798 | 557.141 | 5.329 | 6.302 | 0.9 | 1556.8 | 191203_V-0004.dxf | 2019/12/03 16:55:35 | 1.326 | 1.7422 | 1.0065 | 0.77319 | 0.73716 | 0.43008 | 590.6167 | 15.5122 |  |  |  | 1.715 | 2.3634 | 2.3402 | 2.341 | 1.7154 | 2.3641 | 0.0087407 | 0.013279 | 0.0049677 | 0 | 0.17428 | 0.07968 | 64.4225 | 0.0026817 | Ward_1341 | 695.146 | 807.4056 | -112.2596 | 751.2758 | 58.7219 | 116.9326 |  | Ward_1341 | 659.2756 | 842.444 | -183.1683 | 750.8598 | 57.1445 | 113.7041 | 0.0060978 | 0.006771 | 0.0049677 | 4.1288e-05 | 15.5122 | 1.0035 | 0.090043 | 0.099982 | 0.073355
|  | 24.0833 | 1342 | 191203 | 6 | Ward_1342 | 0 | 2274.409 | 5847.51 | 1644.828 | 1.956 | 2.334 | 0.8 | 1555.9 | 191203_V-0005.dxf | 2019/12/03 20:42:38 | 2.5058 | 4.8757 | 2.5106 | 0.77317 | 0.73703 | 0.4296 | 1714.0407 | 5.6715 |  |  |  | 3.241 | 6.6153 | 5.844 | 5.8451 | 3.2415 | 6.6161 | 0.021824 | 0.025092 | 0.013902 | 0 | 0.17428 | 0.07968 | 64.4225 | 0.011616 | Ward_1342 | 1921.575 | 2796.9725 | -875.3975 | 2359.2738 | 31.0581 | 61.0663 |  | Ward_1342 | 1829.352 | 2917.4769 | -1088.1249 | 2373.4144 | 29.4236 | 57.8083 | 0.010398 | 0.014397 | 0.013902 | 0.0001497 | 5.6715 | 1.0035 | 0.15354 | 0.21259 | 0.20529
| NO3- | 0.28333 | 1343 | 191205 | 3 | Ward_1343 | 0 | 6.619 | 60.923 | 10.451 | 4.657 | 5.542 | 1 | 1560.5 | 191205_V-0002.dxf | 2019/12/05 17:48:36 | 0.77862 | 0.75234 | 0.4345 | 0.77338 | 0.73737 | 0.43051 | 31.1163 | 13.384 |  |  |  | 1.0068 | 1.0203 | 1.0093 | 1.0101 | 1.0072 | 1.0211 | 0.0037716 | 0.0077968 | 0.0021455 | 0 | 0.17395 | 0.079668 | 31.0288 | 2.8038e-07 | Ward_1343 | 16.5572 | -2.4119 | 18.969 | 7.0726 | 31.303 | 61.5547 |  | Ward_1343 | 11.867 | -2.161 | 14.0279 | 4.853 | 29.6689 | 58.2969 | 0.0037186 | 0.0036671 | 0.0021455 | 1.3636e-05 | 13.384 | 0.011806 | 0.05491 | 0.054149 | 0.031682
|  | 0.28333 | 1344 | 191205 | 4 | Ward_1344 | 0 | 12.151 | 65.084 | 12.494 | 3.9 | 4.641 | 1 | 1560.5 | 191205_V-0003.dxf | 2019/12/05 18:20:03 | 0.78275 | 0.75537 | 0.43708 | 0.77338 | 0.73741 | 0.43049 | 33.2073 | 11.4335 |  |  |  | 1.0121 | 1.0244 | 1.0153 | 1.0162 | 1.0126 | 1.0251 | 0.0037943 | 0.0078384 | 0.0021541 | 0 | 0.17395 | 0.079668 | 31.0288 | 8.8752e-06 | Ward_1344 | 20.482 | 4.9714 | 15.5105 | 12.7267 | 31.2606 | 61.4702 |  | Ward_1344 | 15.6115 | 5.5395 | 10.0719 | 10.5755 | 29.6265 | 58.2124 | 0.0037324 | 0.0036954 | 0.0021541 | 1.3792e-05 | 11.4335 | 0.011806 | 0.055113 | 0.054567 | 0.031808
|  | 0.28333 | 1345 | 191205 | 5 | Ward_1345 | 0 | 5.957 | 56.236 | 8.145 | 4.761 | 5.666 | 1 | 1560.3 | 191205_V-0004.dxf | 2019/12/05 18:51:30 | 0.77814 | 0.74903 | 0.4334 | 0.77348 | 0.73737 | 0.43038 | 28.7627 | 14.0449 |  |  |  | 1.006 | 1.0158 | 1.007 | 1.0079 | 1.0065 | 1.0166 | 0.0037632 | 0.007791 | 0.0021361 | 0 | 0.17395 | 0.079668 | 31.0288 | 0 | Ward_1345 | 13.9891 | -1.1928 | 15.1819 | 6.3981 | 29.0392 | 57.0435 |  | Ward_1345 | 9.4169 | -0.88955 | 10.3064 | 4.2637 | 27.4005 | 53.7833 | 0.0037096 | 0.0036717 | 0.0021361 | 1.3621e-05 | 14.0449 | 0.011806 | 0.054777 | 0.054218 | 0.031542
|  | 11.75 | 1346 | 191205 | 6 | Ward_1346 | 0 | 187.439 | 70.894 | 15.341 | 3.586 | 4.271 | 1 | 1559.5 | 191205_V-0005.dxf | 2019/12/05 19:22:58 | 0.91136 | 0.76143 | 0.50537 | 0.77346 | 0.73736 | 0.43032 | 36.1269 | 10.2453 |  |  |  | 1.1783 | 1.0326 | 1.1744 | 1.1753 | 1.1787 | 1.0334 | 0.0043884 | 0.0091247 | 0.0021716 | 0 | 0.17395 | 0.079668 | 31.0288 | 2.6318e-05 | Ward_1346 | 193.4891 | 182.0001 | 11.489 | 187.7446 | 29.8463 | 58.6508 |  | Ward_1346 | 180.6692 | 190.1728 | -9.5037 | 185.421 | 28.2093 | 55.3915 | 0.004339 | 0.0043739 | 0.0021716 | 1.8978e-05 | 10.2453 | 0.48958 | 0.06407 | 0.064586 | 0.032066
|  | 11.75 | 1347 | 191205 | 7 | Ward_1347 | 0 | 107.66 | 68.862 | 14.346 | 4.463 | 5.314 | 1 | 1559.4 | 191205_V-0006.dxf | 2019/12/05 19:54:25 | 0.85288 | 0.75905 | 0.47454 | 0.77346 | 0.73737 | 0.43037 | 35.0984 | 13.1673 |  |  |  | 1.1027 | 1.0294 | 1.1026 | 1.1035 | 1.1031 | 1.0302 | 0.0041203 | 0.0085392 | 0.0021647 | 0 | 0.17395 | 0.079668 | 31.0288 | 1.9429e-05 | Ward_1347 | 115.1958 | 100.969 | 14.2268 | 108.0824 | 30.5155 | 59.9845 |  | Ward_1347 | 105.9733 | 105.6608 | 0.31249 | 105.8171 | 28.8799 | 56.7259 | 0.0040645 | 0.0040633 | 0.0021647 | 1.6515e-05 | 13.1673 | 0.48958 | 0.060017 | 0.06 | 0.031964
|  | 11.75 | 1348 | 191205 | 8 | Ward_1348 | 0 | 90.136 | 66.672 | 13.273 | 5.217 | 6.213 | 1 | 1558.9 | 191205_V-0007.dxf | 2019/12/05 20:25:52 | 0.83998 | 0.75733 | 0.46752 | 0.77345 | 0.73739 | 0.43037 | 33.9962 | 15.1866 |  |  |  | 1.086 | 1.027 | 1.0863 | 1.0872 | 1.0864 | 1.0278 | 0.0040592 | 0.0084101 | 0.0021596 | 0 | 0.17395 | 0.079668 | 31.0288 | 1.4383e-05 | Ward_1348 | 98.5195 | 82.5212 | 15.9983 | 90.5204 | 30.6574 | 60.2673 |  | Ward_1348 | 90.0633 | 86.4206 | 3.6426 | 88.2419 | 29.0221 | 57.0089 | 0.004006 | 0.0039926 | 0.0021596 | 1.5994e-05 | 15.1866 | 0.48958 | 0.059154 | 0.058956 | 0.03189
|  | 24.0833 | 1349 | 191205 | 9 | Ward_1349 | 0 | 201.681 | 67.925 | 13.887 | 5.263 | 6.269 | 1 | 1558.4 | 191205_V-0008.dxf | 2019/12/05 20:57:19 | 0.92179 | 0.75954 | 0.5104 | 0.77351 | 0.73738 | 0.43036 | 34.6307 | 15.6267 |  |  |  | 1.1917 | 1.03 | 1.186 | 1.1868 | 1.1921 | 1.0308 | 0.0044313 | 0.0092282 | 0.0021659 | 0 | 0.17395 | 0.079668 | 31.0288 | 2.0692e-05 | Ward_1349 | 208.196 | 195.446 | 12.7501 | 201.821 | 29.7233 | 58.4059 |  | Ward_1349 | 194.7003 | 204.1963 | -9.496 | 199.4483 | 28.0861 | 55.1465 | 0.0043905 | 0.0044254 | 0.0021659 | 1.943e-05 | 15.6267 | 1.0035 | 0.064832 | 0.065347 | 0.031983
|  | 24.0833 | 1350 | 191205 | 10 | Ward_1350 | 0 | 231.586 | 75.954 | 17.813 | 3.687 | 4.393 | 1 | 1557.9 | 191205_V-0009.dxf | 2019/12/05 21:28:46 | 0.9438 | 0.76554 | 0.52358 | 0.77346 | 0.73735 | 0.43029 | 38.652 | 10.67 |  |  |  | 1.2202 | 1.0382 | 1.2168 | 1.2177 | 1.2207 | 1.039 | 0.0045467 | 0.0094494 | 0.0021833 | 0 | 0.17395 | 0.079668 | 31.0288 | 3.8042e-05 | Ward_1350 | 237.5486 | 226.2867 | 11.2618 | 231.9177 | 29.4564 | 57.8742 |  | Ward_1350 | 222.7041 | 236.3619 | -13.6577 | 229.533 | 27.8186 | 54.6145 | 0.0044934 | 0.0045436 | 0.0021833 | 2.0417e-05 | 10.67 | 1.0035 | 0.066351 | 0.067093 | 0.032239
|  | 24.0833 | 1351 | 191205 | 11 | Ward_1351 | 0 | 201.421 | 68.897 | 14.363 | 5.282 | 6.296 | 1 | 1557.8 | 191205_V-0010.dxf | 2019/12/05 22:00:13 | 0.92162 | 0.76019 | 0.51026 | 0.77351 | 0.73736 | 0.43031 | 35.1161 | 15.4767 |  |  |  | 1.1915 | 1.031 | 1.1858 | 1.1866 | 1.1919 | 1.0317 | 0.0044305 | 0.0092265 | 0.0021679 | 0 | 0.17395 | 0.079668 | 31.0288 | 2.2631e-05 | Ward_1351 | 207.2456 | 195.9282 | 11.3174 | 201.5869 | 29.7254 | 58.4099 |  | Ward_1351 | 193.7935 | 204.6992 | -10.9057 | 199.2464 | 28.0881 | 55.1505 | 0.0043872 | 0.0044273 | 0.0021679 | 1.9423e-05 | 15.4767 | 1.0035 | 0.064783 | 0.065374 | 0.032012

## scale_decompression
Scale Decompression
| d15Na | d15Nb | SP | d15Nbulk | d17O | d18O
Calibrated Values
AIR (Mohn et al., 2014) | 15.7 | -3.3 | 19 | 6.2 | 22.619 | 44.3
B6 (Air Liquide) | -0.40397 | -0.14815 | -0.25582 | -0.27606 | 21.4305 | 41.9493
S2 (Tokyo Tech) | 5.55 | -12.87 | 18.42 | -3.66 | 16.757 | 32.73
Scale decompression from 12/2/2019
ATM | 20.3026 | -2.3228 | 22.6253 | 8.9899 | 24.2955 | 47.6205
B6 | 3.3296 | -1.5852 | 4.9148 | 0.87222 | 23.046 | 45.1453
S2 | 10.5738 | -12.7578 | 23.3316 | -1.092 | 18.4252 | 36.0162
Scale decompression
Slope | 0.95405 | 1.043 |  |  | 1.0021 | 1.0005
Intercept | -3.9294 | 0.35451 |  |  | -1.6986 | -3.2902
ATM | 15.4403 | -2.068 | 17.5083 | 6.6861 | 22.647 | 44.3554
B6 | -0.75278 | -1.2988 | 0.546 | -1.0258 | 21.3949 | 41.8789
S2 | 6.1585 | -12.9513 | 19.1099 | -3.3964 | 16.7646 | 32.745
Scale decompression from 1/26/2021
ATM | 17.4668 | -4.1549 | 21.6217 | 6.6559 | 23.4309 | 45.9076
B6 | 0.039662 | 0.025876 | 0.013786 | 0.032769 | 22.2239 | 43.5183
S2 | 7.0699 | -15.2628 | 22.3326 | -4.0965 | 17.0722 | 33.3504
Scale decompression
Slope | 0.92804 | 0.83816 |  |  | 0.9175 | 0.91703
Intercept | -0.65388 | -0.021574 |  |  | 1.0849 | 2.1298
ATM | 15.5559 | -3.5041 | 19.06 | 6.0259 | 22.5827 | 44.2285
B6 | -0.61707 | 0.00011433 | -0.61718 | -0.30848 | 21.4753 | 42.0375
S2 | 5.9072 | -12.8142 | 18.7214 | -3.4535 | 16.7485 | 32.7132