## size_correction
User inputs |  | Raw data | [17 empty] | SIZE CORRECTION SLOPES (updated 5/10/21) | [5 empty] | corrected to m/z=44 peak area of 20 Vs | [5 empty] | These are the reference values for Stanford A01 tank 06281195 |  |  | VALUES FOR SCRAMBLING CALIBRATION |  |  |  |  | MATLAB/PYTHON OUTPUT |  | SIZE CORRECTED DELTA VALUES |  |  | peak area 20
run_date | ref_tag | Row | Identifier 1 | Is Ref _ | d 15N/14N | d 18O/16O | d 17O/16O | Area 44 | Area 30 | BGD 44 | Rt | FileHeader: Filename | Time Code | rR 45N2O/44N2O sam | rR 46N2O/44N2O sam | rR 31NO/30NO sam | rR 45N2O/44N2O std | rR 46N2O/44N2O std | rR 31NO/30NO std | 31R | 45R | 46R | raw 45rR/45rR | raw 46rR/46rR | raw 31rR/31rR | size corrected 31rR/31rR | size corrected 45rR/45rR | size corrected 46rR/46rR | series | gamma_ref | kappa_ref | 31R | 45R | 46R | size corrected 31R | size corrected 45R | size corrected 46R | DATE | SAMPLE ID | d15Na | d15Nb | SP | d15Nbulk | d17O | d18O | Scrambling coefficients
1 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 | 5.6579e-05 | 2.8107e-05 | 4.8711e-05 | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037742 | 0.0077853 | 0.0021128 | 1 | ATM_EQ_SW_1 | 13.8378 | -2.1647 | 16.0025 | 5.8366 | 24.2604 | 47.5509 | g=0.171 | tank | d15Na | d15Nb | d15Nbulk | d18O | SP | 15Ra | 15Rb | 18R | 17R
2 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.171 | 0.08 | 0.0037301 | 0.007741 | 0.0021013 | 0.0037704 | 0.0077853 | 0.0021128 | 2 | ATM_EQ_SW_1 | 5.5054 | -12.0925 | 17.5979 | -3.2935 | 17.6813 | 34.5501 | k=0.079 | 06281195 March 2015 | 0.14 | -0.03 | 0.05 | 39.76 | 0.17 | 0.003677 | 0.0036764 | 0.0020849 | 0.00038762
3 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.172 | 0.08 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037667 | 0.0077853 | 0.0021128 | 3 | ATM_EQ_SW_1 | -1.5459 | 2.2272 | -3.773 | 0.34066 | 22.6037 | 44.2697
4 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.173 | 0.08 | 0.0037227 | 0.007741 | 0.0021013 | 0.003763 | 0.0077853 | 0.0021128 | 4 | ATM_EQ_SW_1 | 13.6245 | -0.44284 | 14.0674 | 6.5908 | 24.3524 | 47.7334
5 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.174 | 0.08 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037593 | 0.0077853 | 0.0021128 | 5 | ATM_EQ_SW_1 | 5.2916 | -12.0104 | 17.302 | -3.3594 | 17.7807 | 34.7459
6 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.175 | 0.08 | 0.0037154 | 0.007741 | 0.0021013 | 0.0037556 | 0.0077853 | 0.0021128 | 6 | ATM_EQ_SW_1 | -2.1903 | 0.42266 | -2.6129 | -0.8838 | 21.5941 | 42.2726
7 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.176 | 0.08 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037519 | 0.0077853 | 0.0021128 | 7 | ATM_EQ_SW_1 | 14.7204 | -4.1929 | 18.9133 | 5.2637 | 23.3079 | 45.6639
8 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.177 | 0.08 | 0.003708 | 0.007741 | 0.0021013 | 0.0037482 | 0.0077853 | 0.0021128 | 8 | ATM_EQ_SW_1 | 12.5296 | -31.8007 | 44.3303 | -9.6356 | 23.0119 | 45.0778
9 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.178 | 0.08 | 0.0037044 | 0.007741 | 0.0021013 | 0.0037444 | 0.0077853 | 0.0021128 | 9 | ATM_EQ_SW_1 | 15.831 | -3.9732 | 19.8042 | 5.9289 | 23.1713 | 45.3934
10 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.179 | 0.08 | 0.0037007 | 0.007741 | 0.0021013 | 0.0037407 | 0.0077853 | 0.0021128 | 10 | ATM_EQ_SW_1 | 5.6304 | -12.737 | 18.3673 | -3.5533 | 17.0477 | 33.3021
11 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 1 | 0.18 | 0.08 | 0.003697 | 0.007741 | 0.0021013 | 0.003737 | 0.0077853 | 0.0021128 | 11 | ATM_EQ_SW_1 | -0.95197 | 1.2196 | -2.1715 | 0.13379 | 22.4592 | 43.9838
12 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037742 | 0.0077853 | 0.0021128 | 12 | ATM_EQ_SW_1 | 13.1213 | -3.0246 | 16.1459 | 5.0483 | 23.1235 | 45.2987
13 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.079 | 0.0037301 | 0.007741 | 0.0021013 | 0.0037704 | 0.0077853 | 0.0021128 | 13 | ATM_EQ_SW_1 | 15.3662 | -3.7328 | 19.099 | 5.8167 | 23.7036 | 46.4476
14 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.078 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037667 | 0.0077853 | 0.0021128 | 14 | ATM_EQ_SW_1 | 5.712 | -13.0369 | 18.7489 | -3.6625 | 17.5604 | 34.3119
15 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.077 | 0.0037227 | 0.007741 | 0.0021013 | 0.003763 | 0.0077853 | 0.0021128 | 15 | ATM_EQ_SW_1 | 11.9432 | -25.7763 | 37.7195 | -6.9165 | 22.7067 | 44.4736
16 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.076 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037593 | 0.0077853 | 0.0021128
17 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.075 | 0.0037154 | 0.007741 | 0.0021013 | 0.0037556 | 0.0077853 | 0.0021128
18 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.074 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037519 | 0.0077853 | 0.0021128
19 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.073 | 0.003708 | 0.007741 | 0.0021013 | 0.0037482 | 0.0077853 | 0.0021128
20 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.072 | 0.0037044 | 0.007741 | 0.0021013 | 0.0037444 | 0.0077853 | 0.0021128
21 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.071 | 0.0037007 | 0.007741 | 0.0021013 | 0.0037407 | 0.0077853 | 0.0021128
22 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 2 | 0.17 | 0.07 | 0.003697 | 0.007741 | 0.0021013 | 0.003737 | 0.0077853 | 0.0021128
23 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037742 | 0.0077853 | 0.0021128
24 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.171 | 0.079 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037667 | 0.0077853 | 0.0021128
25 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.172 | 0.078 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037593 | 0.0077853 | 0.0021128
26 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.173 | 0.077 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037519 | 0.0077853 | 0.0021128
27 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.174 | 0.076 | 0.0037044 | 0.007741 | 0.0021013 | 0.0037444 | 0.0077853 | 0.0021128
28 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.175 | 0.075 | 0.003697 | 0.007741 | 0.0021013 | 0.003737 | 0.0077853 | 0.0021128
29 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.176 | 0.074 | 0.0036897 | 0.007741 | 0.0021013 | 0.0037296 | 0.0077853 | 0.0021128
30 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.177 | 0.073 | 0.0036823 | 0.007741 | 0.0021013 | 0.0037222 | 0.0077853 | 0.0021128
31 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.178 | 0.072 | 0.003675 | 0.007741 | 0.0021013 | 0.0037147 | 0.0077853 | 0.0021128
32 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.179 | 0.071 | 0.0036676 | 0.007741 | 0.0021013 | 0.0037073 | 0.0077853 | 0.0021128
33 | ATM | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 44172.4961 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 3 | 0.18 | 0.07 | 0.0036603 | 0.007741 | 0.0021013 | 0.0036999 | 0.0077853 | 0.0021128
1 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037382 | 0.0077132 | 0.0020882
2 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.171 | 0.08 | 0.0037301 | 0.007741 | 0.0021013 | 0.0037345 | 0.0077132 | 0.0020882
3 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.172 | 0.08 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037308 | 0.0077132 | 0.0020882
4 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.173 | 0.08 | 0.0037227 | 0.007741 | 0.0021013 | 0.0037272 | 0.0077132 | 0.0020882
5 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.174 | 0.08 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037235 | 0.0077132 | 0.0020882
6 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.175 | 0.08 | 0.0037154 | 0.007741 | 0.0021013 | 0.0037198 | 0.0077132 | 0.0020882
7 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.176 | 0.08 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037161 | 0.0077132 | 0.0020882
8 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.177 | 0.08 | 0.003708 | 0.007741 | 0.0021013 | 0.0037124 | 0.0077132 | 0.0020882
9 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.178 | 0.08 | 0.0037044 | 0.007741 | 0.0021013 | 0.0037088 | 0.0077132 | 0.0020882
10 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.179 | 0.08 | 0.0037007 | 0.007741 | 0.0021013 | 0.0037051 | 0.0077132 | 0.0020882
11 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 1 | 0.18 | 0.08 | 0.003697 | 0.007741 | 0.0021013 | 0.0037014 | 0.0077132 | 0.0020882
12 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037382 | 0.0077132 | 0.0020882
13 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.079 | 0.0037301 | 0.007741 | 0.0021013 | 0.0037345 | 0.0077132 | 0.0020882
14 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.078 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037308 | 0.0077132 | 0.0020882
15 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.077 | 0.0037227 | 0.007741 | 0.0021013 | 0.0037272 | 0.0077132 | 0.0020882
16 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.076 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037235 | 0.0077132 | 0.0020882
17 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.075 | 0.0037154 | 0.007741 | 0.0021013 | 0.0037198 | 0.0077132 | 0.0020882
18 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.074 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037161 | 0.0077132 | 0.0020882
19 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.073 | 0.003708 | 0.007741 | 0.0021013 | 0.0037124 | 0.0077132 | 0.0020882
20 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.072 | 0.0037044 | 0.007741 | 0.0021013 | 0.0037088 | 0.0077132 | 0.0020882
21 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.071 | 0.0037007 | 0.007741 | 0.0021013 | 0.0037051 | 0.0077132 | 0.0020882
22 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 2 | 0.17 | 0.07 | 0.003697 | 0.007741 | 0.0021013 | 0.0037014 | 0.0077132 | 0.0020882
23 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037382 | 0.0077132 | 0.0020882
24 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.171 | 0.079 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037308 | 0.0077132 | 0.0020882
25 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.172 | 0.078 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037235 | 0.0077132 | 0.0020882
26 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.173 | 0.077 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037161 | 0.0077132 | 0.0020882
27 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.174 | 0.076 | 0.0037044 | 0.007741 | 0.0021013 | 0.0037088 | 0.0077132 | 0.0020882
28 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.175 | 0.075 | 0.003697 | 0.007741 | 0.0021013 | 0.0037014 | 0.0077132 | 0.0020882
29 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.176 | 0.074 | 0.0036897 | 0.007741 | 0.0021013 | 0.0036941 | 0.0077132 | 0.0020882
30 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.177 | 0.073 | 0.0036823 | 0.007741 | 0.0021013 | 0.0036867 | 0.0077132 | 0.0020882
31 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.178 | 0.072 | 0.003675 | 0.007741 | 0.0021013 | 0.0036793 | 0.0077132 | 0.0020882
32 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.179 | 0.071 | 0.0036676 | 0.007741 | 0.0021013 | 0.003672 | 0.0077132 | 0.0020882
33 | S2 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 3 | 0.18 | 0.07 | 0.0036603 | 0.007741 | 0.0021013 | 0.0036646 | 0.0077132 | 0.0020882
1 | B6 | 3 | B6_ref_1 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.4 | 1548.9 | 201207_V-0002.dxf | 2020/12/07 13:08:33 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037243 | 0.0077424 | 0.0021098
2 | B6 | 4 | B6_ref_2 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.5 | 1549.9 | 201207_V-0002.dxf | 2020/12/07 13:08:34 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.171 | 0.08 | 0.0037301 | 0.007741 | 0.0021013 | 0.0037206 | 0.0077424 | 0.0021098
3 | B6 | 5 | B6_ref_3 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.6 | 1550.9 | 201207_V-0002.dxf | 2020/12/07 13:08:35 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.172 | 0.08 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037169 | 0.0077424 | 0.0021098
4 | B6 | 6 | B6_ref_4 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.7 | 1551.9 | 201207_V-0002.dxf | 2020/12/07 13:08:36 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.173 | 0.08 | 0.0037227 | 0.007741 | 0.0021013 | 0.0037133 | 0.0077424 | 0.0021098
5 | B6 | 7 | B6_ref_5 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.8 | 1552.9 | 201207_V-0002.dxf | 2020/12/07 13:08:37 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.174 | 0.08 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037096 | 0.0077424 | 0.0021098
6 | B6 | 8 | B6_ref_6 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.9 | 1553.9 | 201207_V-0002.dxf | 2020/12/07 13:08:38 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.175 | 0.08 | 0.0037154 | 0.007741 | 0.0021013 | 0.0037059 | 0.0077424 | 0.0021098
7 | B6 | 9 | B6_ref_7 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.10 | 1554.9 | 201207_V-0002.dxf | 2020/12/07 13:08:39 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.176 | 0.08 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037023 | 0.0077424 | 0.0021098
8 | B6 | 10 | B6_ref_8 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.11 | 1555.9 | 201207_V-0002.dxf | 2020/12/07 13:08:40 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.177 | 0.08 | 0.003708 | 0.007741 | 0.0021013 | 0.0036986 | 0.0077424 | 0.0021098
9 | B6 | 11 | B6_ref_9 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.12 | 1556.9 | 201207_V-0002.dxf | 2020/12/07 13:08:41 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.178 | 0.08 | 0.0037044 | 0.007741 | 0.0021013 | 0.0036949 | 0.0077424 | 0.0021098
10 | B6 | 12 | B6_ref_10 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.13 | 1557.9 | 201207_V-0002.dxf | 2020/12/07 13:08:42 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.179 | 0.08 | 0.0037007 | 0.007741 | 0.0021013 | 0.0036913 | 0.0077424 | 0.0021098
11 | B6 | 13 | B6_ref_11 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.14 | 1558.9 | 201207_V-0002.dxf | 2020/12/07 13:08:43 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 1 | 0.18 | 0.08 | 0.003697 | 0.007741 | 0.0021013 | 0.0036876 | 0.0077424 | 0.0021098
12 | B6 | 14 | B6_ref_12 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.15 | 1559.9 | 201207_V-0002.dxf | 2020/12/07 13:08:44 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037243 | 0.0077424 | 0.0021098
13 | B6 | 15 | B6_ref_13 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.16 | 1560.9 | 201207_V-0002.dxf | 2020/12/07 13:08:45 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.079 | 0.0037301 | 0.007741 | 0.0021013 | 0.0037206 | 0.0077424 | 0.0021098
14 | B6 | 16 | B6_ref_14 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.17 | 1561.9 | 201207_V-0002.dxf | 2020/12/07 13:08:46 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.078 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037169 | 0.0077424 | 0.0021098
15 | B6 | 17 | B6_ref_15 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.18 | 1562.9 | 201207_V-0002.dxf | 2020/12/07 13:08:47 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.077 | 0.0037227 | 0.007741 | 0.0021013 | 0.0037133 | 0.0077424 | 0.0021098
16 | B6 | 18 | B6_ref_16 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.19 | 1563.9 | 201207_V-0002.dxf | 2020/12/07 13:08:48 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.076 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037096 | 0.0077424 | 0.0021098
17 | B6 | 19 | B6_ref_17 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.20 | 1564.9 | 201207_V-0002.dxf | 2020/12/07 13:08:49 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.075 | 0.0037154 | 0.007741 | 0.0021013 | 0.0037059 | 0.0077424 | 0.0021098
18 | B6 | 20 | B6_ref_18 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.21 | 1565.9 | 201207_V-0002.dxf | 2020/12/07 13:08:50 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.074 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037023 | 0.0077424 | 0.0021098
19 | B6 | 21 | B6_ref_19 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.22 | 1566.9 | 201207_V-0002.dxf | 2020/12/07 13:08:51 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.073 | 0.003708 | 0.007741 | 0.0021013 | 0.0036986 | 0.0077424 | 0.0021098
20 | B6 | 22 | B6_ref_20 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.23 | 1567.9 | 201207_V-0002.dxf | 2020/12/07 13:08:52 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.072 | 0.0037044 | 0.007741 | 0.0021013 | 0.0036949 | 0.0077424 | 0.0021098
21 | B6 | 23 | B6_ref_21 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.24 | 1568.9 | 201207_V-0002.dxf | 2020/12/07 13:08:53 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.071 | 0.0037007 | 0.007741 | 0.0021013 | 0.0036913 | 0.0077424 | 0.0021098
22 | B6 | 24 | B6_ref_22 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.25 | 1569.9 | 201207_V-0002.dxf | 2020/12/07 13:08:54 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 2 | 0.17 | 0.07 | 0.003697 | 0.007741 | 0.0021013 | 0.0036876 | 0.0077424 | 0.0021098
23 | B6 | 25 | B6_ref_23 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.26 | 1570.9 | 201207_V-0002.dxf | 2020/12/07 13:08:55 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.17 | 0.08 | 0.0037338 | 0.007741 | 0.0021013 | 0.0037243 | 0.0077424 | 0.0021098
24 | B6 | 26 | B6_ref_24 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.27 | 1571.9 | 201207_V-0002.dxf | 2020/12/07 13:08:56 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.171 | 0.079 | 0.0037264 | 0.007741 | 0.0021013 | 0.0037169 | 0.0077424 | 0.0021098
25 | B6 | 27 | B6_ref_25 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.28 | 1572.9 | 201207_V-0002.dxf | 2020/12/07 13:08:57 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.172 | 0.078 | 0.0037191 | 0.007741 | 0.0021013 | 0.0037096 | 0.0077424 | 0.0021098
26 | B6 | 28 | B6_ref_26 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.29 | 1573.9 | 201207_V-0002.dxf | 2020/12/07 13:08:58 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.173 | 0.077 | 0.0037117 | 0.007741 | 0.0021013 | 0.0037023 | 0.0077424 | 0.0021098
27 | B6 | 29 | B6_ref_27 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.30 | 1574.9 | 201207_V-0002.dxf | 2020/12/07 13:08:59 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.174 | 0.076 | 0.0037044 | 0.007741 | 0.0021013 | 0.0036949 | 0.0077424 | 0.0021098
28 | B6 | 30 | B6_ref_28 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.31 | 1575.9 | 201207_V-0002.dxf | 2020/12/07 13:08:60 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.175 | 0.075 | 0.003697 | 0.007741 | 0.0021013 | 0.0036876 | 0.0077424 | 0.0021098
29 | B6 | 31 | B6_ref_29 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.32 | 1576.9 | 201207_V-0002.dxf | 2020/12/07 13:08:61 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.176 | 0.074 | 0.0036897 | 0.007741 | 0.0021013 | 0.0036803 | 0.0077424 | 0.0021098
30 | B6 | 32 | B6_ref_30 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.33 | 1577.9 | 201207_V-0002.dxf | 2020/12/07 13:08:62 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.177 | 0.073 | 0.0036823 | 0.007741 | 0.0021013 | 0.003673 | 0.0077424 | 0.0021098
31 | B6 | 33 | B6_ref_31 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.34 | 1578.9 | 201207_V-0002.dxf | 2020/12/07 13:08:63 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.178 | 0.072 | 0.003675 | 0.007741 | 0.0021013 | 0.0036656 | 0.0077424 | 0.0021098
32 | B6 | 34 | B6_ref_32 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.35 | 1579.9 | 201207_V-0002.dxf | 2020/12/07 13:08:64 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.179 | 0.071 | 0.0036676 | 0.007741 | 0.0021013 | 0.0036583 | 0.0077424 | 0.0021098
33 | B6 | 35 | B6_ref_33 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.36 | 1580.9 | 201207_V-0002.dxf | 2020/12/07 13:08:65 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 3 | 0.18 | 0.07 | 0.0036603 | 0.007741 | 0.0021013 | 0.003651 | 0.0077424 | 0.0021098

## atm_s2
Coefficients for ref. injection |  | Put MATLAB/python outputs here: |  |  | PYTHON OUTPUT: |  | ATMOSPHERE-EQUILIBRATED SEAWATER |  |  | peak area 20 |  | PYTHON OUTPUT: |  | S2 REFERENCE GAS |  |  | peak area 20 |  | PYTHON OUTPUT: |  | B6 REFERENCE GAS |  |  | peak area 20 |  | d15Na | d15Nb | SP | d15Nbulk | d17O | d18O
gamma_ref | kappa_ref | gamma_sample | kappa_sample |  | SP | d15Na | d15Nb | d15Nbulk | d17O | d18O |  | SP | d15Na | d15Nb | d15Nbulk | d17O | d18O |  | SP | d15Na | d15Nb | d15Nbulk | d17O | d18O | Calibrated Values
0.17 | 0.08 | 0.17159 | 0.079843 |  | 19.1694 | 15.5136 | -3.6558 | 5.9289 | 23.1713 | 45.3934 |  | 17.7395 | 5.3165 | -12.4231 | -3.5533 | 17.0476 | 33.3021 |  | -2.8411 | -1.2868 | 1.5544 | 0.13379 | 22.4592 | 43.9838 | AIR (Mohn et al., 2014) | 15.7 | -3.3 | 19 | 6.2 |  | 44.3
0.171 | 0.08 | 0.1725 | 0.079757 |  | 19.1563 | 15.507 | -3.6492 | 5.9289 | 23.1713 | 45.3934 |  | 17.7251 | 5.3093 | -12.4159 | -3.5533 | 17.0476 | 33.3021 |  | -2.8583 | -1.2954 | 1.5629 | 0.13379 | 22.4592 | 43.9838 | B6 (Air Liquide) | -0.40397 | -0.14815 | -0.25582 | -0.27606 |  | 41.9493
0.172 | 0.08 | 0.1734 | 0.07967 |  | 19.1372 | 15.4975 | -3.6397 | 5.9289 | 23.1713 | 45.3934 |  | 17.7049 | 5.2991 | -12.4057 | -3.5533 | 17.0476 | 33.3021 |  | -2.8812 | -1.3068 | 1.5744 | 0.13379 | 22.4592 | 43.9838 | S2 (Tokyo Tech) | 5.55 | -12.87 | 18.42 | -3.66 |  | 32.73
0.173 | 0.08 | 0.17431 | 0.079584 |  | 19.1119 | 15.4849 | -3.627 | 5.9289 | 23.1713 | 45.3934 |  | 17.6791 | 5.2863 | -12.3929 | -3.5533 | 17.0476 | 33.3021 |  | -2.9096 | -1.321 | 1.5886 | 0.13379 | 22.4592 | 43.9838
0.174 | 0.08 | 0.1752 | 0.079497 |  | 19.081 | 15.4694 | -3.6116 | 5.9289 | 23.1713 | 45.3934 |  | 17.6472 | 5.2703 | -12.3769 | -3.5533 | 17.0476 | 33.3021 |  | -2.945 | -1.3387 | 1.6063 | 0.13379 | 22.4592 | 43.9838
0.175 | 0.08 | 0.1761 | 0.079411 |  | 19.0443 | 15.451 | -3.5932 | 5.9289 | 23.1713 | 45.3934 |  | 17.6094 | 5.2514 | -12.358 | -3.5533 | 17.0476 | 33.3021 |  | -2.9854 | -1.3589 | 1.6265 | 0.13379 | 22.4592 | 43.9838
0.176 | 0.08 | 0.177 | 0.079325 |  | 19.0016 | 15.4297 | -3.5719 | 5.9289 | 23.1713 | 45.3934 |  | 17.5657 | 5.2295 | -12.3361 | -3.5533 | 17.0476 | 33.3021 |  | -3.0316 | -1.382 | 1.6496 | 0.13379 | 22.4592 | 43.9838
0.177 | 0.08 | 0.17789 | 0.079239 |  | 18.9526 | 15.4052 | -3.5474 | 5.9289 | 23.1713 | 45.3933 |  | 17.5166 | 5.205 | -12.3116 | -3.5533 | 17.0476 | 33.3021 |  | -3.084 | -1.4082 | 1.6758 | 0.13379 | 22.4592 | 43.9838
0.178 | 0.08 | 0.17878 | 0.079153 |  | 18.8978 | 15.3778 | -3.52 | 5.9289 | 23.1713 | 45.3933 |  | 17.4616 | 5.1775 | -12.2841 | -3.5533 | 17.0476 | 33.3021 |  | -3.1416 | -1.437 | 1.7046 | 0.13379 | 22.4592 | 43.9838
0.179 | 0.08 | 0.17967 | 0.079067 |  | 18.8374 | 15.3476 | -3.4898 | 5.9289 | 23.1713 | 45.3933 |  | 17.4003 | 5.1469 | -12.2535 | -3.5533 | 17.0476 | 33.3021 |  | -3.2053 | -1.4689 | 1.7364 | 0.13379 | 22.4592 | 43.9838
0.18 | 0.08 | 0.18056 | 0.078982 |  | 18.7707 | 15.3143 | -3.4565 | 5.9289 | 23.1713 | 45.3933 |  | 17.3336 | 5.1135 | -12.2201 | -3.5533 | 17.0476 | 33.3021 |  | -3.2752 | -1.5038 | 1.7714 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.08 | 0.17159 | 0.079843 |  | 19.1694 | 15.5136 | -3.6558 | 5.9289 | 23.1713 | 45.3934 |  | 17.7395 | 5.3165 | -12.4231 | -3.5533 | 17.0476 | 33.3021 |  | -2.8411 | -1.2868 | 1.5544 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.079 | 0.1725 | 0.079757 |  | 19.1566 | 15.5072 | -3.6494 | 5.9289 | 23.1713 | 45.3934 |  | 17.7248 | 5.3091 | -12.4157 | -3.5533 | 17.0476 | 33.3021 |  | -2.8579 | -1.2952 | 1.5628 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.078 | 0.1734 | 0.07967 |  | 19.1372 | 15.4975 | -3.6397 | 5.9289 | 23.1713 | 45.3934 |  | 17.7049 | 5.2991 | -12.4057 | -3.5533 | 17.0476 | 33.3021 |  | -2.8812 | -1.3068 | 1.5744 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.077 | 0.1743 | 0.079584 |  | 19.1119 | 15.4849 | -3.627 | 5.9289 | 23.1713 | 45.3934 |  | 17.6791 | 5.2863 | -12.3929 | -3.5533 | 17.0476 | 33.3021 |  | -2.9103 | -1.3214 | 1.589 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.076 | 0.1752 | 0.079497 |  | 19.081 | 15.4694 | -3.6116 | 5.9289 | 23.1713 | 45.3934 |  | 17.6472 | 5.2703 | -12.3769 | -3.5533 | 17.0476 | 33.3021 |  | -2.9449 | -1.3387 | 1.6062 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.075 | 0.1761 | 0.079411 |  | 19.0443 | 15.451 | -3.5932 | 5.9289 | 23.1713 | 45.3934 |  | 17.6094 | 5.2514 | -12.358 | -3.5533 | 17.0476 | 33.3021 |  | -2.9853 | -1.3589 | 1.6264 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.074 | 0.177 | 0.079325 |  | 19.0016 | 15.4297 | -3.5719 | 5.9289 | 23.1713 | 45.3934 |  | 17.5658 | 5.2296 | -12.3362 | -3.5533 | 17.0476 | 33.3021 |  | -3.0315 | -1.382 | 1.6496 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.073 | 0.17789 | 0.079239 |  | 18.9527 | 15.4052 | -3.5474 | 5.9289 | 23.1713 | 45.3933 |  | 17.5166 | 5.205 | -12.3116 | -3.5533 | 17.0476 | 33.3021 |  | -3.084 | -1.4082 | 1.6758 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.072 | 0.17878 | 0.079153 |  | 18.8982 | 15.378 | -3.5202 | 5.9289 | 23.1713 | 45.3933 |  | 17.4613 | 5.1773 | -12.2839 | -3.5533 | 17.0476 | 33.3021 |  | -3.1418 | -1.4371 | 1.7047 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.071 | 0.17967 | 0.079067 |  | 18.8375 | 15.3476 | -3.4898 | 5.9289 | 23.1713 | 45.3933 |  | 17.4005 | 5.1469 | -12.2535 | -3.5533 | 17.0476 | 33.3021 |  | -3.2052 | -1.4688 | 1.7364 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.07 | 0.18056 | 0.078982 |  | 18.7712 | 15.3145 | -3.4567 | 5.9289 | 23.1713 | 45.3933 |  | 17.3334 | 5.1134 | -12.22 | -3.5533 | 17.0476 | 33.3021 |  | -3.2754 | -1.5039 | 1.7715 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.08 | 0.17159 | 0.079843 |  | 19.1694 | 15.5136 | -3.6558 | 5.9289 | 23.1713 | 45.3934 |  | 17.7395 | 5.3165 | -12.4231 | -3.5533 | 17.0476 | 33.3021 |  | -2.8411 | -1.2868 | 1.5544 | 0.13379 | 22.4592 | 43.9838
0.171 | 0.079 | 0.1734 | 0.07967 |  | 19.1372 | 15.4975 | -3.6397 | 5.9289 | 23.1713 | 45.3934 |  | 17.7049 | 5.2991 | -12.4057 | -3.5533 | 17.0476 | 33.3021 |  | -2.8812 | -1.3068 | 1.5744 | 0.13379 | 22.4592 | 43.9838
0.172 | 0.078 | 0.1752 | 0.079497 |  | 19.081 | 15.4694 | -3.6116 | 5.9289 | 23.1713 | 45.3934 |  | 17.6472 | 5.2703 | -12.3769 | -3.5533 | 17.0476 | 33.3021 |  | -2.9442 | -1.3383 | 1.6059 | 0.13379 | 22.4592 | 43.9838
0.173 | 0.077 | 0.177 | 0.079325 |  | 19.0016 | 15.4297 | -3.5719 | 5.9289 | 23.1713 | 45.3934 |  | 17.5657 | 5.2296 | -12.3362 | -3.5533 | 17.0476 | 33.3021 |  | -3.0316 | -1.382 | 1.6496 | 0.13379 | 22.4592 | 43.9838
0.174 | 0.076 | 0.17878 | 0.079153 |  | 18.8982 | 15.378 | -3.5202 | 5.9289 | 23.1713 | 45.3933 |  | 17.4612 | 5.1773 | -12.2839 | -3.5533 | 17.0476 | 33.3021 |  | -3.1412 | -1.4368 | 1.7044 | 0.13379 | 22.4592 | 43.9838
0.175 | 0.075 | 0.18056 | 0.078982 |  | 18.7708 | 15.3143 | -3.4565 | 5.9289 | 23.1713 | 45.3933 |  | 17.3337 | 5.1136 | -12.2202 | -3.5533 | 17.0476 | 33.3021 |  | -3.2751 | -1.5038 | 1.7714 | 0.13379 | 22.4592 | 43.9838
0.176 | 0.074 | 0.18233 | 0.078811 |  | 18.6205 | 15.2391 | -3.3813 | 5.9289 | 23.1713 | 45.3933 |  | 17.182 | 5.0377 | -12.1443 | -3.5533 | 17.0476 | 33.3021 |  | -3.4317 | -1.5821 | 1.8496 | 0.13379 | 22.4592 | 43.9838
0.177 | 0.073 | 0.18409 | 0.078642 |  | 18.4466 | 15.1522 | -3.2944 | 5.9289 | 23.1713 | 45.3933 |  | 17.007 | 4.9502 | -12.0568 | -3.5533 | 17.0476 | 33.3021 |  | -3.6116 | -1.672 | 1.9396 | 0.13379 | 22.4592 | 43.9838
0.178 | 0.072 | 0.18584 | 0.078473 |  | 18.2483 | 15.0531 | -3.1952 | 5.9289 | 23.1713 | 45.3933 |  | 16.8092 | 4.8513 | -11.9579 | -3.5533 | 17.0476 | 33.3021 |  | -3.8148 | -1.7736 | 2.0412 | 0.13379 | 22.4592 | 43.9838
0.179 | 0.071 | 0.18759 | 0.078304 |  | 18.0268 | 14.9423 | -3.0845 | 5.9289 | 23.1713 | 45.3933 |  | 16.5877 | 4.7406 | -11.8472 | -3.5533 | 17.0476 | 33.3021 |  | -4.0417 | -1.887 | 2.1546 | 0.13379 | 22.4592 | 43.9838
0.18 | 0.07 | 0.18978 | 0.078082 |  | 19.179 | 15.5184 | -3.6606 | 5.9289 | 23.1713 | 45.3934 |  | 17.7263 | 5.3099 | -12.4164 | -3.5533 | 17.0476 | 33.3021 |  | -2.9139 | -1.3231 | 1.5907 | 0.13379 | 22.4592 | 43.9838
|  |  |  | Mean | 18.9364 | 15.3971 | -3.5393 |  |  |  | Mean | 17.5009 | 5.1972 | -12.3037 |  |  |  | Mean | -3.0983 | -1.4154 | 1.683
|  |  |  | Std. dev. | 0.27084 | 0.13542 | 0.13542 |  |  |  | Std. dev. | 0.2726 | 0.1363 | 0.1363 |  |  |  | Std. dev. | 0.28342 | 0.14171 | 0.14171

## atm_b6
Coefficients for ref. injection |  | Put MATLAB/python outputs here: |  |  | PYTHON OUTPUT: |  | ATMOSPHERE-EQUILIBRATED SEAWATER |  |  | peak area 20 |  | PYTHON OUTPUT: |  | B6 REFERENCE GAS |  |  | peak area 20 |  | d15Na | d15Nb | SP | d15Nbulk | d17O | d18O
gamma | kappa | gamma | kappa |  | SP | d15Na | d15Nb | d15Nbulk | d17O | d18O |  | SP | d15Na | d15Nb | d15Nbulk | d17O | d18O | Calibrated Values
0.17 | 0.08 | 0.1718 | 0.07953 |  | 20.5476 | 16.2027 | -4.3449 | 5.9289 | 23.1713 | 45.3935 |  | -1.467 | -0.59969 | 0.86727 | 0.13379 | 22.4592 | 43.9837 | AIR (Mohn et al., 2014) | 15.7 | -3.3 | 19 | 6.2 |  | 44.3
0.171 | 0.08 | 0.17278 | 0.079526 |  | 20.5361 | 16.197 | -4.3392 | 5.9289 | 23.1713 | 45.3935 |  | -1.4872 | -0.60981 | 0.87739 | 0.13379 | 22.4592 | 43.9837 | B6 (Air Liquide) | -0.40397 | -0.14815 | -0.25582 | -0.27606 |  | 41.9493
0.172 | 0.08 | 0.17373 | 0.079483 |  | 20.5176 | 16.1877 | -4.3299 | 5.9289 | 23.1713 | 45.3935 |  | -1.5122 | -0.62229 | 0.88987 | 0.13379 | 22.4592 | 43.9837 | S2 (Tokyo Tech) | 5.55 | -12.87 | 18.42 | -3.66 |  | 32.73
0.173 | 0.08 | 0.17465 | 0.079423 |  | 20.4923 | 16.175 | -4.3172 | 5.9289 | 23.1713 | 45.3935 |  | -1.5421 | -0.63727 | 0.90485 | 0.13379 | 22.4592 | 43.9837
0.174 | 0.08 | 0.17557 | 0.079355 |  | 20.4615 | 16.1597 | -4.3019 | 5.9289 | 23.1713 | 45.3935 |  | -1.5784 | -0.6554 | 0.92299 | 0.13379 | 22.4592 | 43.9837
0.175 | 0.08 | 0.17648 | 0.079282 |  | 20.4243 | 16.1411 | -4.2833 | 5.9289 | 23.1713 | 45.3935 |  | -1.62 | -0.67619 | 0.94378 | 0.13379 | 22.4592 | 43.9838
0.176 | 0.08 | 0.17739 | 0.079207 |  | 20.3812 | 16.1195 | -4.2617 | 5.9289 | 23.1713 | 45.3934 |  | -1.6673 | -0.69985 | 0.96744 | 0.13379 | 22.4592 | 43.9838
0.177 | 0.08 | 0.17829 | 0.079129 |  | 20.332 | 16.0949 | -4.2371 | 5.9289 | 23.1713 | 45.3934 |  | -1.7204 | -0.7264 | 0.99398 | 0.13379 | 22.4592 | 43.9838
0.178 | 0.08 | 0.17918 | 0.079049 |  | 20.2766 | 16.0672 | -4.2094 | 5.9289 | 23.1713 | 45.3934 |  | -1.7789 | -0.75565 | 1.0232 | 0.13379 | 22.4592 | 43.9838
0.179 | 0.08 | 0.18008 | 0.078969 |  | 20.2155 | 16.0367 | -4.1789 | 5.9289 | 23.1713 | 45.3934 |  | -1.8436 | -0.78799 | 1.0556 | 0.13379 | 22.4592 | 43.9838
0.18 | 0.08 | 0.18097 | 0.078888 |  | 20.1485 | 16.0032 | -4.1454 | 5.9289 | 23.1713 | 45.3934 |  | -1.914 | -0.82323 | 1.0908 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.08 | 0.1718 | 0.07953 |  | 20.5476 | 16.2027 | -4.3449 | 5.9289 | 23.1713 | 45.3935 |  | -1.467 | -0.59969 | 0.86727 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.079 | 0.17278 | 0.079526 |  | 20.5361 | 16.197 | -4.3392 | 5.9289 | 23.1713 | 45.3935 |  | -1.4872 | -0.6098 | 0.87739 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.078 | 0.17373 | 0.079483 |  | 20.5176 | 16.1877 | -4.3299 | 5.9289 | 23.1713 | 45.3935 |  | -1.5122 | -0.62228 | 0.88987 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.077 | 0.17465 | 0.079423 |  | 20.4926 | 16.1752 | -4.3174 | 5.9289 | 23.1713 | 45.3935 |  | -1.5425 | -0.63744 | 0.90502 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.076 | 0.17557 | 0.079355 |  | 20.4615 | 16.1597 | -4.3019 | 5.9289 | 23.1713 | 45.3935 |  | -1.5783 | -0.65538 | 0.92296 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.075 | 0.17648 | 0.079283 |  | 20.4244 | 16.1411 | -4.2833 | 5.9289 | 23.1713 | 45.3935 |  | -1.6199 | -0.67617 | 0.94375 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.074 | 0.17739 | 0.079207 |  | 20.3812 | 16.1195 | -4.2617 | 5.9289 | 23.1713 | 45.3934 |  | -1.6672 | -0.69982 | 0.9674 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.073 | 0.17829 | 0.079129 |  | 20.3321 | 16.0949 | -4.2371 | 5.9289 | 23.1713 | 45.3934 |  | -1.7203 | -0.72636 | 0.99394 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.072 | 0.17918 | 0.079049 |  | 20.277 | 16.0674 | -4.2096 | 5.9289 | 23.1713 | 45.3934 |  | -1.7791 | -0.75578 | 1.0234 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.071 | 0.18008 | 0.078969 |  | 20.2156 | 16.0367 | -4.1789 | 5.9289 | 23.1713 | 45.3934 |  | -1.8434 | -0.78792 | 1.0555 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.07 | 0.18097 | 0.078888 |  | 20.149 | 16.0034 | -4.1456 | 5.9289 | 23.1713 | 45.3934 |  | -1.9143 | -0.82334 | 1.0909 | 0.13379 | 22.4592 | 43.9838
0.17 | 0.08 | 0.1718 | 0.07953 |  | 20.5476 | 16.2027 | -4.3449 | 5.9289 | 23.1713 | 45.3935 |  | -1.467 | -0.59969 | 0.86727 | 0.13379 | 22.4592 | 43.9837
0.171 | 0.079 | 0.17373 | 0.079483 |  | 20.5176 | 16.1877 | -4.3299 | 5.9289 | 23.1713 | 45.3935 |  | -1.5122 | -0.62229 | 0.88987 | 0.13379 | 22.4592 | 43.9837
0.172 | 0.078 | 0.17557 | 0.079355 |  | 20.4611 | 16.1595 | -4.3017 | 5.9289 | 23.1713 | 45.3935 |  | -1.578 | -0.65521 | 0.92279 | 0.13379 | 22.4592 | 43.9837
0.173 | 0.077 | 0.17739 | 0.079207 |  | 20.3812 | 16.1195 | -4.2617 | 5.9289 | 23.1713 | 45.3934 |  | -1.6673 | -0.69983 | 0.96742 | 0.13379 | 22.4592 | 43.9838
0.174 | 0.076 | 0.17918 | 0.079049 |  | 20.2766 | 16.0672 | -4.2094 | 5.9289 | 23.1713 | 45.3934 |  | -1.7788 | -0.75562 | 1.0232 | 0.13379 | 22.4592 | 43.9838
0.175 | 0.075 | 0.18097 | 0.078888 |  | 20.1486 | 16.0032 | -4.1454 | 5.9289 | 23.1713 | 45.3934 |  | -1.914 | -0.82319 | 1.0908 | 0.13379 | 22.4592 | 43.9838
0.176 | 0.074 | 0.18274 | 0.078725 |  | 19.9969 | 15.9273 | -4.0695 | 5.9289 | 23.1713 | 45.3934 |  | -2.0723 | -0.90238 | 1.17 | 0.13379 | 22.4592 | 43.9838
0.177 | 0.073 | 0.18451 | 0.07856 |  | 19.8215 | 15.8397 | -3.9819 | 5.9289 | 23.1713 | 45.3934 |  | -2.254 | -0.9932 | 1.2608 | 0.13379 | 22.4592 | 43.9838
0.178 | 0.072 | 0.18626 | 0.078396 |  | 19.6221 | 15.74 | -3.8822 | 5.9289 | 23.1713 | 45.3934 |  | -2.4585 | -1.0955 | 1.3631 | 0.13379 | 22.4592 | 43.9838
0.179 | 0.071 | 0.18801 | 0.078231 |  | 19.3994 | 15.6286 | -3.7708 | 5.9289 | 23.1713 | 45.3934 |  | -2.6868 | -1.2096 | 1.4772 | 0.13379 | 22.4592 | 43.9838
0.18 | 0.07 | 0.18912 | 0.076895 |  | 20.5845 | 16.2211 | -4.3633 | 5.9289 | 23.1713 | 45.3935 |  | -1.4605 | -0.59646 | 0.86404 | 0.13379 | 22.4592 | 43.9837
|  |  |  | Mean | 20.3159 | 16.0869 | -4.2291 |  |  |  | Mean | -1.7307 | -0.73154 | 0.99912
|  |  |  | Std. dev. | 0.27335 | 0.13667 | 0.13667 |  |  |  | Std. dev. | 0.28987 | 0.14494 | 0.14494

## s2_b6
Coefficients for ref. injection |  | Python scrambling output |  |  | PYTHON OUTPUT: |  | S2 REFERENCE GAS |  |  | peak area 20 |  | PYTHON OUTPUT: |  | B6 REFERENCE GAS |  |  | peak area 20 |  | d15Na | d15Nb | SP | d15Nbulk | d17O | d18O
gamma | kappa | gamma | kappa |  | SP | d15Na | d15Nb | d15Nbulk | d17O | d18O |  | SP | d15Na | d15Nb | d15Nbulk | d17O | d18O | Calibrated Values
0.17 | 0.08 | 0.17227 | 0.079634 |  | 20.1062 | 6.4998 | -13.6064 | -3.5533 | 17.0477 | 33.3023 |  | -0.47881 | -0.10561 | 0.37319 | 0.13379 | 22.4592 | 43.9837 | AIR (Mohn et al., 2014) | 15.7 | -3.3 | 19 | 6.2 |  | 44.3
0.171 | 0.08 | 0.17321 | 0.079584 |  | 20.0917 | 6.4926 | -13.5992 | -3.5533 | 17.0477 | 33.3023 |  | -0.49797 | -0.11519 | 0.38277 | 0.13379 | 22.4592 | 43.9837 | B6 (Air Liquide) | -0.40397 | -0.14815 | -0.25582 | -0.27606 |  | 41.9493
0.172 | 0.08 | 0.17413 | 0.079518 |  | 20.0709 | 6.4822 | -13.5888 | -3.5533 | 17.0477 | 33.3023 |  | -0.52256 | -0.12749 | 0.39507 | 0.13379 | 22.4592 | 43.9837 | S2 (Tokyo Tech) | 5.55 | -12.87 | 18.42 | -3.66 |  | 32.73
0.173 | 0.08 | 0.17505 | 0.079445 |  | 20.0441 | 6.4687 | -13.5753 | -3.5533 | 17.0477 | 33.3023 |  | -0.55279 | -0.14261 | 0.41019 | 0.13379 | 22.4592 | 43.9837
0.174 | 0.08 | 0.17595 | 0.079368 |  | 20.0116 | 6.4525 | -13.5591 | -3.5533 | 17.0477 | 33.3023 |  | -0.58913 | -0.16077 | 0.42836 | 0.13379 | 22.4592 | 43.9837
0.175 | 0.08 | 0.17686 | 0.079288 |  | 19.9729 | 6.4331 | -13.5397 | -3.5533 | 17.0477 | 33.3023 |  | -0.63087 | -0.18164 | 0.44922 | 0.13379 | 22.4592 | 43.9837
0.176 | 0.08 | 0.17775 | 0.079207 |  | 19.9282 | 6.4108 | -13.5174 | -3.5533 | 17.0477 | 33.3023 |  | -0.67839 | -0.20541 | 0.47299 | 0.13379 | 22.4592 | 43.9837
0.177 | 0.08 | 0.17865 | 0.079126 |  | 19.878 | 6.3857 | -13.4923 | -3.5533 | 17.0477 | 33.3023 |  | -0.73209 | -0.23225 | 0.49983 | 0.13379 | 22.4592 | 43.9837
0.178 | 0.08 | 0.17954 | 0.079043 |  | 19.8216 | 6.3575 | -13.4641 | -3.5533 | 17.0477 | 33.3022 |  | -0.79123 | -0.26182 | 0.52941 | 0.13379 | 22.4592 | 43.9837
0.179 | 0.08 | 0.18044 | 0.078961 |  | 19.7593 | 6.3263 | -13.4329 | -3.5533 | 17.0477 | 33.3022 |  | -0.8562 | -0.29431 | 0.56189 | 0.13379 | 22.4592 | 43.9837
0.18 | 0.08 | 0.18132 | 0.078878 |  | 19.6915 | 6.2924 | -13.3991 | -3.5533 | 17.0477 | 33.3022 |  | -0.92734 | -0.32988 | 0.59746 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.08 | 0.17227 | 0.079634 |  | 20.1062 | 6.4998 | -13.6064 | -3.5533 | 17.0477 | 33.3023 |  | -0.47881 | -0.10561 | 0.37319 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.079 | 0.17321 | 0.079584 |  | 20.0914 | 6.4924 | -13.599 | -3.5533 | 17.0477 | 33.3023 |  | -0.4976 | -0.11501 | 0.38259 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.078 | 0.17413 | 0.079518 |  | 20.0709 | 6.4822 | -13.5888 | -3.5533 | 17.0477 | 33.3023 |  | -0.52255 | -0.12748 | 0.39507 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.077 | 0.17504 | 0.079445 |  | 20.0445 | 6.4689 | -13.5755 | -3.5533 | 17.0477 | 33.3023 |  | -0.55314 | -0.14278 | 0.41036 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.076 | 0.17595 | 0.079368 |  | 20.0116 | 6.4525 | -13.5591 | -3.5533 | 17.0477 | 33.3023 |  | -0.58909 | -0.16076 | 0.42834 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.075 | 0.17685 | 0.079288 |  | 19.9729 | 6.4331 | -13.5397 | -3.5533 | 17.0477 | 33.3023 |  | -0.63083 | -0.18162 | 0.4492 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.074 | 0.17775 | 0.079208 |  | 19.9282 | 6.4108 | -13.5174 | -3.5533 | 17.0477 | 33.3023 |  | -0.67833 | -0.20538 | 0.47296 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.073 | 0.17865 | 0.079126 |  | 19.8781 | 6.3857 | -13.4923 | -3.5533 | 17.0477 | 33.3023 |  | -0.73202 | -0.23222 | 0.4998 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.072 | 0.17954 | 0.079044 |  | 19.8217 | 6.3575 | -13.4641 | -3.5533 | 17.0477 | 33.3022 |  | -0.79114 | -0.26178 | 0.52936 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.071 | 0.18043 | 0.078961 |  | 19.7594 | 6.3264 | -13.433 | -3.5533 | 17.0477 | 33.3022 |  | -0.85608 | -0.29425 | 0.56183 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.07 | 0.18132 | 0.078878 |  | 19.6916 | 6.2925 | -13.3991 | -3.5533 | 17.0477 | 33.3022 |  | -0.92721 | -0.32982 | 0.5974 | 0.13379 | 22.4592 | 43.9837
0.17 | 0.08 | 0.17227 | 0.079634 |  | 20.1062 | 6.4998 | -13.6064 | -3.5533 | 17.0477 | 33.3023 |  | -0.47881 | -0.10561 | 0.37319 | 0.13379 | 22.4592 | 43.9837
0.171 | 0.079 | 0.17413 | 0.079518 |  | 20.0709 | 6.4822 | -13.5888 | -3.5533 | 17.0477 | 33.3023 |  | -0.52256 | -0.12749 | 0.39507 | 0.13379 | 22.4592 | 43.9837
0.172 | 0.078 | 0.17595 | 0.079368 |  | 20.0113 | 6.4523 | -13.5589 | -3.5533 | 17.0477 | 33.3023 |  | -0.58875 | -0.16058 | 0.42816 | 0.13379 | 22.4592 | 43.9837
0.173 | 0.077 | 0.17775 | 0.079207 |  | 19.9282 | 6.4108 | -13.5174 | -3.5533 | 17.0477 | 33.3023 |  | -0.67836 | -0.20539 | 0.47297 | 0.13379 | 22.4592 | 43.9837
0.174 | 0.076 | 0.17954 | 0.079044 |  | 19.8213 | 6.3573 | -13.4639 | -3.5533 | 17.0477 | 33.3022 |  | -0.79082 | -0.26162 | 0.5292 | 0.13379 | 22.4592 | 43.9837
0.175 | 0.075 | 0.18132 | 0.078878 |  | 19.6916 | 6.2925 | -13.3991 | -3.5533 | 17.0477 | 33.3022 |  | -0.92728 | -0.32985 | 0.59743 | 0.13379 | 22.4592 | 43.9837
0.176 | 0.074 | 0.18309 | 0.078711 |  | 19.5376 | 6.2155 | -13.3221 | -3.5533 | 17.0477 | 33.3022 |  | -1.0863 | -0.40936 | 0.67694 | 0.13379 | 22.4592 | 43.9837
0.177 | 0.073 | 0.18486 | 0.078545 |  | 19.3603 | 6.1268 | -13.2334 | -3.5533 | 17.0477 | 33.3022 |  | -1.2686 | -0.50052 | 0.7681 | 0.13379 | 22.4592 | 43.9837
0.178 | 0.072 | 0.18661 | 0.078378 |  | 19.1599 | 6.0266 | -13.1332 | -3.5533 | 17.0477 | 33.3022 |  | -1.4746 | -0.60352 | 0.8711 | 0.13379 | 22.4592 | 43.9837
0.179 | 0.071 | 0.18802 | 0.077414 |  | 20.1619 | 6.5276 | -13.6342 | -3.5533 | 17.0477 | 33.3023 |  | -0.44168 | -0.087051 | 0.35463 | 0.13379 | 22.4592 | 43.9837
0.18 | 0.07 | 0.18996 | 0.077365 |  | 20.1714 | 6.5324 | -13.639 | -3.5533 | 17.0477 | 33.3023 |  | -0.44493 | -0.088675 | 0.35626 | 0.13379 | 22.4592 | 43.9837
|  |  |  | Mean | 19.9022 | 6.3978 | -13.5044 |  |  |  | Mean | -0.70354 | -0.21798 | 0.48556
|  |  |  | Std. dev. | 0.22929 | 0.11464 | 0.11464 |  |  |  | Std. dev. | 0.24036 | 0.12018 | 0.12018